## Slide 1: MI-TW 2021聯測介紹
WG2-Vital Signs
2021-05-21
召集人：台灣醫學影像資訊標準協會 林欣怡
聯繫窗口：中原大學生物醫學工程所碩士班 洪苑容

## Slide 2
Vital Sign
Laboratory
Device measurements
Imaging results
Personal characteristics
Social history
Clinical assessment tools
Core characteristics
Notes: Medication statement 病人用藥紀錄

## Slide 3: Scenarios I
使用者(病患)自行上傳生理監測數據
PHR(Personal Health Record)或院內FHIR SERVER
照護者端下載及呈現生理監測數據
Vital signs
Body Weight
Body Height
Body Temperature
Pre Meal / Post Meal
Heart Rate
Percentage of Body Fat Measured
Grip Strength Hand-Dynamometer
Laboratory
Blood Glucose
http://hapi.fhir.org/baseR4/Observation?code=29463-7&subject=402
FHIR Server RootURL
resource
code
patient
Post observation
get observation

## Slide 4
Scenarios I

## Slide 5
Item | LoincCode | Unit
Body Height | 3137-7 | cm
Body weight | 29463-7 | kg
Blood Pressure Panel | 35094-2 | mmHg
Systolic Blood Pressure | 8480-6 | mmHg
Distolic Blood Pressure | 8462-4 | mmHg
Body Temperature | 8310-5 | Cel
Blood Glucose Post Meal | 87422-2 | mg/dL
Blood Glucose Pre Meal | 88365-2 | mg/dL
Heart Rate | 8867-4 | {beats}/min
Percentage of body fat Measured | 41982-0 | %
Grip strength Hand - right Dynamometer | 83174-3 | kg
Scenarios I_Code&Unit

## Slide 6: Scenarios II
Imaging results in hospital : bone density
測量部位:測量腰椎(spine bone)、髖骨(Hip)或股骨(Femur)
量測結果以 T-score 呈現
新增note: 標註詳細部位

## Slide 7
檢查室做檢查
診間看診
開立檢驗單
掛號
1.1Post patient WG1
2.1get patient
2.2 post encounter
2.4 post serviceRequest
3.1 get serviceRequest
3.3 put serviceRequest
3.2 post encounter
3.4 post observation
回診間看結果
4.1get patient
4.2get serviceRequest
4.3get observation
4.4Post diagnosticReport
1.2Post encounter
2.3 post condition
Notes: 我也聽步道

## Slide 8
final
Code system https://www.hl7.org/fhir/codesystem-observation-category.html
Code: image
"system": "http://loinc.org",
"code": "80953-3",
“display”: “DXA Femur - right [Mass/Area] Bone density”
Example 2

## Slide 9
"valueQuantity":
value: -1.1
Unit : T-score
system : "http ://unitsofmeasure.org"
"code": {T-score}

## Slide 10
EX: Lumbar spine L1

## Slide 11
放在note

## Slide 12
Item | LoincCode | Unit
DXA Femur [T-score] Bone density(股骨) | 38263-0 | {T-score}
DXA Femur - left [T-score] Bone density | 80948-3 | {T-score}
DXA Femur - right [T-score] Bone density | 80947-5 | {T-score}
DXA Lumbar spine [T-score] Bone density(脊椎) | 38267-1 | {T-score}
DXA Hip [T-score] Bone density(髖骨) | 38264-8 | {T-score}
Scenarios II_Code&Unit

## Slide 13
部位 | Note
腰椎第一節 | Lumbar spine L1
腰椎第二節 | Lumbar spine L2
腰椎第三節 | Lumbar spine L3
腰椎第四節 | Lumbar spine L4
腰椎第二節 | Lumbar spine L1~L2
腰椎第二節 | Lumbar spine L1~L3
腰椎第二節 | Lumbar spine L1~L4
腰椎第二節 | Lumbar spine L2~L3
腰椎第二節 | Lumbar spine L2~L4
腰椎第二節 | Lumbar spine L3~L4
股骨頸 | Femoral neck
Ward三角 | Ward`s area
股骨幹 | Femoral body
股骨全部 | Total Femur
Scenarios II_Note

## Slide 14: Scenarios III-Query
上傳blood pressure+heart rate
新增baseOn_MedicationRequest=62114
查詢blood pressure +heart rate + medicationRequest
(時間區間:2012-07-01T00:00:01至2012-07-31T23:59:59)
WG2成員事先上傳medicationRequest，提供查詢區間為2020-05-01T00:00:01至2021-05-01T23:59:59

## Slide 15
診間看診
開立處方籤
掛號
1.1Post patient WG1
2.1get patient
2.2 post encounter
2.4 post medicationRequest
(開立慢性處方簽)
3.1 post condition
定期回診
2.3 post practitioner
4.1Get patient
4.2Get medicationRequest
4.3 Get observation
4.4Post diagnosticReport
1.2Post encounter
回家，每天早晚量血壓新律、定時吃藥
3.2 post observation
4.5Post medicationRequest
4.3Get condition

## Slide 16
病人類型
藥物資訊
用藥方式
配藥期間
配藥總量
配藥天數

## Slide 17
FHIR Observation_ basedOn

## Slide 18
Item | LoincCode | Unit
Blood Pressure Panel | 35094-2 | mmHg
Systolic Blood Pressure | 8480-6 | mmHg
Distolic Blood Pressure | 8462-4 | mmHg
Heart Rate | 8867-4 | {beats}/min
Observation.code_LOINC CODE

## Slide 19: Query
查詢病人某日血壓資料
https://fhir.dicom.tw/fhir/Observation?code=35094-2&subject= c6bc36a8-a1d1-4bf2-92b1-47bda16fd39a &date=2012-07-01
查詢特定病人某段時間血壓資料
https://fhir.dicom.tw/fhir/Observation?code=35094-2&subject= c6bc36a8-a1d1-4bf2-92b1-47bda16fd39a & date=gt2012-07-01T00:00:01&date=lt2021-07-05T23:59:59
查詢特定病人處方簽資料
https://fhir.dicom.tw/fhir/MedicationRequest?subject= c6bc36a8-a1d1-4bf2-92b1-47bda16fd39a
查詢特定病人處方簽與血壓、心律的資料
https://fhir.dicom.tw/fhir/Observation?subject=c6bc36a8-a1d1-4bf2-92b1-47bda16fd39a&based-on=63757&code=8867-4,35094-2&date=gt2020-07-05T00:00:01&date=lt2020-07-10T23:59:59

## Slide 20
用藥+血壓+心律的呈現
https://alicehong-grass.github.io/MedicationRecord/

## Slide 21: Scenarios VI-12-lead ECG
院內上傳12-lead ECG
院外上傳12-lead ECG
(12-lead ECG or wearable ECG device)
呈現12-lead ECG

## Slide 24
sampling
Amplifier
Filter
output的data
原始量測出的data(mV)

## Slide 25
Device
Waveform Data +annotation
User side Browser
經過gateway轉譯
轉換成FHIR ECG
醫師向FHIR server 查詢調閱
FHIR Server

## Slide 26
ECG Device
Observation.Component.value(waveform data)
Observation.Component.value(annotation)
1.資料量太大，不利傳輸
2.不利醫師查詢 annotation 或 AI inference result
ECG Device
Observation
(Waveform data)
FHIR Server
Observation
(Annotation)
Http Post
gateway
Derived from
gateway

## Slide 27
Order Placer
FHIR SERVER
ECG Device
Report Creator
AI or Evidence Creator
2.1Get Patient
3.1Get ServiceRequest
3.2Put ServiceRequest
3.4Post ECG Observation(waveform)
3.5Post ECG Observation(annotation)
4.4Put ECG Observation
(annotation)
4.5Post ECG Observation(findings)
5.2Get ServiceRequest
5.3Get Observation(waveform)
5.5Post DiagnosticReport
4.1 Get ServiceRequest
5.4Get Observation(findings)
Gateway
4.3 Get ECG Observation
(Waveform)
Procedure of 12 Lead ECG in Hospital
Registered Center
1.1Post Patient
1.2Post Encounter
2.2Post Encounter
2.4Post ServiceRequest
2.3Post Condition
3.3Post Encounter
4.2Post Encounter
5.1Get Patient
Notes: ICU: base on Alert

## Slide 28
Order Placer
FHIR SERVER
ECG Device
Report Creator
AI or Evidence Creator
2.1Get Patient
3.1Post ECG Observation(waveform)
3.2Post ECG Observation(annotation)
4.4Put ECG Observation
(annotation)
4.5Post ECG Observation(findings)
5.2Get ServiceRequest
5.3Get Observation(waveform)
5.5Post DiagnosticReport
4.1 Get ServiceRequest
5.4Get Observation(findings)
Gateway
4.3 Get ECG Observation
(Waveform)
Procedure of Out patient’s 12 Lead ECG or Wearable ECG with ServiceRequest
Registered Center
1.1Post Patient
1.2Post Encounter
2.2Post Encounter
2.4Post ServiceRequest
2.3Post Condition
4.2Post Encounter
5.1Get Patient
2.4Post Patient (with unique outpatient ID)
Notes: ICU: base on Alert

## Slide 29
FHIR SERVER
Wearable/
ECG Device
Report Creator
AI or Evidence Creator
2.1Post ECG Observation(waveform)
2.2Post ECG Observation (annotation)
3.3Put ECG Observation
(annotation)
3.4Post ECG Observation(findings)
3.1Get Patient(or Get Device)
3.2Get Observation(waveform)
3.4Post DiagnosticReport
3.3Get Observation(findings)
3.2 Get ECG Observation
(Waveform)
Procedure of Out patient’s 12 Lead ECG or Wearable ECG without ServiceRequest
3.1Get Patient
Registered
1.1Post Patient
1.2Post Device
Notes: ICU: base on Alert

## Slide 30
Notes: 我聽得到 可以

## Slide 31
ISO/IEEE 11073 Health informatics

## Slide 32
FHIR 12 Lead ECG
FHIR Observation
Lead I
Lead II
Lead III
Lead AVR
Lead AVF
Lead AVL
Lead V1-V6
Component

## Slide 33
Code | Display
131328 | MDC_ECG_ELEC_POTL
131329 | MDC_ECG_ELEC_POTL_I
131330 | MDC_ECG_ELEC_POTL_II
131389 | MDC_ECG_ELEC_POTL_III
131390 | MDC_ECG_ELEC_POTL_AVR
131391 | MDC_ECG_ELEC_POTL_AVL
131392 | MDC_ECG_ELEC_POTL_AVF
131331 | MDC_ECG_ELEC_POTL_V1
131332 | MDC_ECG_ELEC_POTL_V2
131333 | MDC_ECG_ELEC_POTL_V3
131334 | MDC_ECG_ELEC_POTL_V4
131335 | MDC_ECG_ELEC_POTL_V5
131336 | MDC_ECG_ELEC_POTL_V6
IEEE 11073 12 Lead ECG Code

## Slide 34
ECG Lead II

## Slide 35
Sampled data |  | 
original | 原始零點的數值 | 1024
Period | 每組資料裡每個取樣點間隔的時間單位為million second | Sampling Rate:360HZ 1000ms/360點 period=2.77ms
Factor | 經ADC後的值*Factor =原始值(mV) | 1/200=0.005 (1011-1024)*0.005=- 0.07mV
Lowerlimit | The lower limit of detection of the measured points. This is needed if any of the data points have the value "L" (lower than detection limit). | 
Upperlimit | The upper limit of detection of the measured points. This is needed if any of the data points have the value "U" (higher than detection limit). | 
Dimensions | 一組資料裏面包含了幾個導程的訊號 Ex: 訊號：V1,V2,V1,V2,V1,V2….，Dimension=2 | 1
data | A series of data points which are decimal values separated by a single space. | 

## Slide 36
PTB-XL ECG database

## Slide 37
Viewer
Notes: http://203.64.84.150:38088/viewer

## Slide 38: Scenarios V-Vital Signs in EMS
救護車到達現場，或是在救護車上，上傳各式生理監測資料一次

## Slide 39
EMS center
FHIR Server
1.1 post patient
ambulance center
2.1 get patient
Contact Site
3.1 put patient
3.3 post condition
3.5 post observation1
3.2 post encounter
ambulance
4.4 post observation 2
4.1 post condition
4.2 post encounter
4.3 post carePlan/medication/procedure…etc.
3.4 post Questionnaire
Hospital

## Slide 40
 |  | category | code | Unit(UCUM) | 
頸動脈?脈搏(HR) | Heart Rate | Vital-signs | 8867-4(Loinc) | {beats}/min | LOINC Code 8889-8 Heart rate by Pulse oximeter
體溫(BT) | Body temperature | Vital-signs | 8310-5(Loinc) | cel | 
BP(血壓) | Blood Pressure Panel | Vital-signs | 35094-2(Loinc) | mmHg | 
 | Systolic Blood Pressure | Vital-signs | 8480-6(Loinc) | mmHg | 
 | Distolic Blood Pressure | Vital-signs | 8462-4(Loinc) | mmHg | 
呼吸頻率RR | Respiratory Rate | Vital-signs | 9279-1(Loinc) | {breaths}/min; {counts/min} | 
spO2脈搏血氧飽和濃度 | pulse oximetry | Vital-signs | 59408-5(Loinc) | % | https://loinc.org/59408-5/
EKG | EKG data | Procedure | 131328(IEEE 11073) |  | 
微血管充填時間 | Capillary refill Time | exam | 44963- 7 (Loinc) | s | Capillary refill [Time] of Nail bed
血糖 | blood glucose | laboratory | 2339-0 | mg/dL | https://loinc.org/2339-0/

## Slide 41
final
Patient ID
現場/救護車上

## Slide 42
spO2

## Slide 43
第一次量測/第二次量測

## Slide 44
EKG
Blood Pressure

## Slide 45: Thank You